## plant_design
STP Design Data — legacy paper surveys digitised 2016–2021
source: onboarding team paper survey forms, transcribed by domain team
Plant ID | Client Name | Sector | Plant Location | Start of operation | Design Flow (KLD) | Mean flow, kld | Peak Flow KLD | Peak flow timing | Unit processes | PFD displayed?
P-01 | Marigold Residency | Residential | Basement | Mar 2019 | 300 | 240 | 576 | 7-9 am, 6-8 pm | Screening; Equalization; MBBR; Clarification; Chlorination | Yes
P-02 | Vaayu Textiles Pvt Ltd | Industrial | Ground level | 2016-08 | 1000 | 850 | 1785 | continuous | Screening, Equalization, ASP, Tube settling, Media filtration | Y
P-03 | Sunridge Business Park | Commercial building | Ground level | Jan 2021 | 500 | 410 | 1148 | 9:00-11:00, 15:00-17:00 | SBR + Chlorination | No
P-04 | Harbourline Logistics Park | Commercial building | Ground level |  | 700 | 620 | 6200 | 6-8am & 7-9pm | Screening; EQ; MBBR; MF | TRUE
P-05 | Kesar Foods Processing | Industrial | Ground level | Nov 2017 | 1200 | 980 | 2450 | Two shifts: 8-10, 20-22 | Screening, OGT, Equalization, MBR | Yes
P-06 | Silverbrook Apartments | Residential | Basement | 2020 | 400 | 310 KLD | 930 | 7 to 9 AM; 6 to 8 PM | MBBR, Clarification, Media filtration, Chlorination | N

## water quality
Water quality — as reported by onboarding team
single grab samples unless noted; some plants had no lab report on site
Plant ID | Client Name | Inlet COD (mg/L) | Inlet BOD (mg/L) | Inlet Total N (mg/L) | Inlet TSS (mg/L) | Inlet pH | Outlet COD (mg/L) | Outlet BOD (mg/L) | Outlet Total N (mg/L) | Outlet TSS (mg/L) | Outlet colour | Objectionable odour at outlet? | Outlet photo ref
P-01 | Marigold Residency | 520 | 260 | 45 | 280 | 7.1 | 48 | 12 | 6 | 18 | Clear | No | IMG_2043.jpg
P-02 | Vaayu Textiles Pvt Ltd | 1450 | 580 | 62 | 460 | 8.9 | 72 | 18 | 9 |  | Slight yellow | Yes | IMG_1187.jpg
P-03 | Sunridge Business Park | 480 |  | 38 | 240 | 7.4 | 40 | 9 | 4 | 14 | Clear | No | IMG_0774.jpg
P-04 | Harbourline Logistics Park | 610 | 300 | 51 | 310 | 7.2 ? | 55 | 14 | 7 | 20 | Yellowish | No | IMG_0921.jpg
P-05 | Kesar Foods Processing | 940 | 470 | 78 | 420 | 6.8 | 68 | 16 | 8 | 26 | Light brown | Yes | IMG_3310.jpg
P-06 | Silverbrook Apartments | 500 | 240 | 40 | 260 | 7.3 | 45 | 11 | 5 | 16 | Clear | No | IMG_4102.jpg

## water_balance
Compiled by domain team — please do not edit, ask before changing values
Plant ID | Client Name | Freshwater source | Freshwater cost (Rs/KL) | Domestic consumption (KL/day) | Laundry consumption (KL/day) | Kitchen consumption (KL/day) | Freshwater TDS (mg/L) | Freshwater pH | Freshwater hardness (mg/L as CaCO3) | Freshwater fluoride (mg/L) | Wastewater source | Treated water destination | Reuse fraction | Reuse - flushing (KL/day) | Reuse - gardening (KL/day) | Reuse - cooling tower (KL/day) | Reuse point TDS (mg/L) | Water balance displayed?
P-01 | Marigold Residency | Borewell | 38 | 260 | 40 | 55 | 890 | 7.4 | 185 | 0.2 | Domestic sewage | On-site reuse | 0.65 | 90 | 60 | 0 | 620 | No
P-02 | Vaayu Textiles Pvt Ltd | Municipal + Borewell | 52 | 180 | 120 | 30 | 210 | 7.1 | 120 | 0.1 | Industrial effluent, Wash water | On-site reuse; Sewer discharge | 0.4 | 40 | 20 | 200 | 980 | Yes
P-03 | Sunridge Business Park | Municipal | ₹42 | 300 | 15 | 70 | 180 | 7.6 | 95 | 0.15 | Domestic sewage; Kitchen/canteen | On-site reuse | 0.7 | 120 | 80 | 0 | 700 | Yes
P-04 | Harbourline Logistics Park | Tankers | 60 | 420 | 20 | 35 | 240 | 7.3 | 140 | 0.12 | Domestic sewage | Sewer discharge | 0.25 | 30 | 25 | 0 | 750 | No
P-05 | Kesar Foods Processing | Borewell, Municipal | 48 | 1,050 | 60 | 210 | 165 |  | 110 | 0.18 | Kitchen/canteen + Industrial effluent | Zero liquid discharge (ZLD) | 90% | 150 | 90 | 300 | 890 | Yes
P-06 | Silverbrook Apartments | Municipal | 41 | 290 | 45 | 50 | 195 | 7.5 | 130 | 0.14 | Domestic sewage, Laundry | On-site reuse; Land application/irrigation | 0.6 | 100 | 70 | 0 | 660 | No

## site-characteristics
Site characteristics — collection tank
revised after second site visit, see email thread 14 Feb
'Plant Location' re-recorded here because the design sheet was filled in from drawings, not from the site
| Plant_ID | Client Name | Plant Location | Tank material of construction | Open / covered / sealed | Tank condition | Tank accessibility | Cable run to panel (m) | Sludge visible in tank?
| P-01 | Marigold Residency | Basement | RCC | Open | Good | Easy | 12 | Yes
| P-02 | Vaayu Textiles Pvt Ltd | Ground level | MS with epoxy lining | Covered | Fair | Restricted | 25 | Yes
| P-03 | Sunridge Business Park | Ground level | RCC | open | Good | Easy | 8 | No
| P-04 | Harbourline Logistics Park | Basement | HDPE | Covered | Poor | Unsafe | 30 | Yes
| P-05 | Kesar Foods Processing | Ground level | RCC | Sealed/Closed | Fair | Restricted | 18 | Yes
| P-06 | Silverbrook Apartments | Basement |  | COVERED | Good | Easy | 15 | No

## process_design
Process design — collection tank sizing
collection tank only; other unit processes are in the technology workbooks
no plant code recorded on these forms
Client Name | Tank count | Tank arrangement (rows x cols) | Tank shape | Tank volume (m3) | Tank length (m) | Tank width (m) | Tank diameter (m) | Tank height (m) | Same dimensions for all tanks? | Sludge wasting (per day)
Marigold Residency | 1 | 1 x 1 | Rectangular | 12 | 4 | 2 |  | 1.5 |  | 1
Vaayu Textiles Pvt. Ltd. | 2 | 2 x 1 | Rectangular | 37.5 | 5 | 2.5 |  | 3.0m |  | 2
Sunridge Business Park | 1 | 1 x 1 | Rectangular | 18 | 3 | 2 |  | 2 |  | 1/2
Harbourline Logistics Park | 1 | 1 x 1 | Cylindrical | 20 |  |  | 3.2 | 2.5 |  | 1
Kesar Foods Processing | 1 | 1 x 1 | Rectangular | 1.8 | 1.5 | 1.2 |  | 1 |  | 2
Silverbrook Apartments | 2 | 1 x 1 | Rectangular | 4.5 | 2 | 1.5 |  | 1.5 |  | 1