## plant_design
STP Design Data — legacy paper surveys digitised 2015–2020
source: onboarding team paper survey forms, transcribed by domain team
Plant ID | Client Name | Sector | Plant Location | Start of operation | Design Flow (KLD) | Mean flow, kld | Peak Flow KLD | Peak flow timing | Unit processes | PFD displayed?
P-07 | Neelkanth Greens | Residential | Basement |  | 1150 | 950 | 2156 | Two shifts: 8-10, 20-22 | Equalization, Anoxic, MBBR, Clarification, Chlorination | Yes
P-08 | Ardent Auto Components | Industrial effluent plant | Ground level | 2015 | 600 | 480 | 4032 | 7 to 9 AM; 6 to 8 PM | Screening, Equalization, CASS, Media filtration | Yes
P-09 | Palm Meridian Residency | Residential | Basement | Apr 2021 | 550 | 440 kld | 1047 | 9:00-11:00, 15:00-17:00 | Screening, Equalization, CASS, Media filtration | TRUE
P-10 | Sagarika Hotels | Commercial building | Ground level | Nov 2020 | 300 | 260 | 603 | 9:00-11:00, 15:00-17:00 | Screening; Equalization; SBR; MF; Chlorination | yes
P-11 | Bharat Alloys & Castings | Industrial | Ground level | Jul 2019 | 1100 | 900 | 2493 | 8-10 and 19-21 | MBBR, Clarification, Media filtration, Chlorination | Y
P-12 | Willowmere Enclave | Residential building | Ground level | Dec 2016 | 1050 | 850 | 2388 | 7 to 9 AM; 6 to 8 PM | MBBR, Clarification, Media filtration, Chlorination | N

## water quality
Water quality — as reported by onboarding team
single grab samples unless noted; some plants had no lab report on site
Plant ID | Client Name | Inlet COD (mg/L) | Inlet BOD (mg/L) | Inlet Total N (mg/L) | Inlet TSS (mg/L) | Inlet pH | Outlet COD (mg/L) | Outlet BOD (mg/L) | Outlet Total N (mg/L) | Outlet TSS (mg/L) | Outlet colour | Objectionable odour at outlet? | Outlet photo ref
P-07 | Neelkanth Greens | 502 | 532 | 19 | 211 | ~7.5 | 32 | 10 | 2.1 | 24 | Slightly turbid | yes | IMG_4526.jpg
P-08 | Ardent Auto Components | 714 | 509 | 44 | 332 | 7.9 | 36 | 13 | 8.4 | 10 | Slightly turbid | Yes | IMG_1080.jpg
P-09 | Palm Meridian Residency | 437 | 372 | 18 | 405 | 7.9 |  | 7 | 6.2 | 13 | Slightly turbid | Yes | IMG_2362.jpg
P-10 | Sagarika Hotels | 448 | 176 | 47 | 353 | 8.4 | 42 | 15 | 5.7 | 19 | Colourless | N | IMG_0677.jpg
P-11 | Bharat Alloys & Castings | 1410 | 354 |  | 389 | 7.8 | 37 | 12 | 7.6 | 28 | Colourless | FALSE | IMG_1006.jpg
P-12 | Willowmere Enclave | 835 | 456 | 45 | 341 | 6.7 | 32 | 19 | 8 | 16 | Yellowish | N | IMG_2926.jpg

## water_balance
Compiled by domain team — please do not edit, ask before changing values
Plant ID | Client Name | Freshwater source | Freshwater cost (Rs/KL) | Domestic consumption (KL/day) | Laundry consumption (KL/day) | Kitchen consumption (KL/day) | Freshwater TDS (mg/L) | Freshwater pH | Freshwater hardness (mg/L as CaCO3) | Freshwater fluoride (mg/L) | Wastewater source | Treated water destination | Reuse fraction | Reuse - flushing (KL/day) | Reuse - gardening (KL/day) | Reuse - cooling tower (KL/day) | Reuse point TDS (mg/L) | Water balance displayed?
P-07 | Neelkanth Greens | Municipal + Borewell | 39 | 1040 | 90 | 130 | 193 | 7.8 | 155 | 0.24 | Domestic sewage + Wash water | On-site reuse, Groundwater recharge | 51% | 60 | 20 | 0 | 912 | Yes
P-08 | Ardent Auto Components | Surface | 43 | 540 | 80 | 155 KL | 120 | 6.6 | 162 | 0.15 | Domestic sewage; Kitchen/canteen | On-site reuse; Sewer discharge | 0.46 | 130 | 70 | 300 | 926 | yes
P-09 | Palm Meridian Residency | Borewell | 39 | 370 | 70 | 130 | 660 | 7.3 | 54 | 0.06 | Domestic sewage | Surface water discharge | 0.23 | 60 | 25 | 0 | 985 | yes
P-10 | Sagarika Hotels | Tankers | 54 | 210 | 35 | 125 | 99 | 6.8 | 62 | 0.09 | Municipal sewage | Surface water discharge | 0.67 | 90 | 30 | 0 | 843 | No
P-11 | Bharat Alloys & Castings | Tankers | 30 | 920 | 55 | 215 | 167 | 7.5 | 128 | 0.05 | Domestic sewage, Laundry | On-site reuse | 0.55 | 50 | 90 | 0 | 652 | no
P-12 | Willowmere Enclave | Municipal + Borewell | Rs 51 | 750 | 80 | 50 | 214 | 6.8 |  | 0.16 | Industrial effluent, Wash water | On-site reuse | 0.44 | 30 | 20 | 0 | 1024 | Y

## site-characteristics
Site characteristics — collection tank
revised after second site visit, see email thread 14 Feb
'Plant Location' re-recorded here because the design sheet was filled in from drawings, not from the site
| Plant_ID | Client Name | Plant Location | Tank material of construction | Open / covered / sealed | Tank condition | Tank accessibility | Cable run to panel (m) | Sludge visible in tank?
| P-07 | Neelkanth Greens | Basement | MS | open | Poor | Restricted | 29 | Y
| P-08 | Ardent Auto Components | Basement | FRP | open | Poor | Unsafe | 33 | Yes
| P-09 | Palm Meridian Residency | Basement | HDPE | OPEN | Poor | Restricted | 7 | yes
| P-10 | Sagarika Hotels | Ground level |  | covered | Poor | Restricted | 32 | FALSE
| P-11 | Bharat Alloys & Castings | Ground level | Brick masonry with plaster | Sealed/Closed | Fair | Easy | 19 | FALSE
| P-12 | Willowmere Enclave | Ground level | MS | OPEN | Fair | Restricted | 14 | yes

## process_design
Process design — collection tank sizing
collection tank only; other unit processes are in the technology workbooks
no plant code recorded on these forms
Client Name | Tank count | Tank arrangement (rows x cols) | Tank shape | Tank volume (m3) | Tank length (m) | Tank width (m) | Tank diameter (m) | Tank height (m) | Same dimensions for all tanks? | Sludge wasting (per day)
Neelkanth Greens | 2 | 1 x 1 | Cylindrical | 10.39 |  |  | 2.1 | 3 |  | 0.5
Ardent Auto Components | 2 | 2 x 1 | Rectangular | 9.52 | 2.8 | 1.7 |  | 2 |  | 0.5
Palm Meridian Residency | 1 | 1 x 1 | Cylindrical | 20.36 |  |  | 3.6 | 2 |  | 2
Sagarika Hotels Ltd | 1 | 1 x 1 | Rectangular | 0.55 | 0.9 | 0.61 |  | 1 |  | 0.5
Bharat Alloys & Castings | 1 | 1 x 1 | Rectangular | 36.27 | 6.2 | 3.9 |  | 1.5 m |  | 1
Willowmere Enclave | 1 | 1 x 1 | Rectangular | 46.12 | 4.1 | 2.5 |  | 3 |  | 1/2