## plant_design
STP Design Data — legacy paper surveys digitised 2017–2022
source: onboarding team paper survey forms, transcribed by domain team
Plant ID | Client Name | Sector | Plant Location | Start of operation | Design Flow (KLD) | Mean flow, kld | Peak Flow KLD | Peak flow timing | Unit processes | PFD displayed?
P-13 | Chandra Vihar Township | Residential | Ground level | Apr 2021 | 500 | 430 | 1191 | continuous | Screening; Equalization; MBBR; Clarification; Chlorination | yes
P-14 | Prakash Dairy Products | industrial | Ground level | Apr 2021 | 800 | 640 | 1690 | 0700-0900 / 1800-2000 | Screening; Equalization; SBR; MF; Chlorination | FALSE
P-15 | Lakeview Corporate Centre | Commercial | Ground level | Jan 2021 | 550 | 440 | 1201 | continuous | Screening; EQ; MBBR; MF | No
P-16 | Suvarna Pharma Labs | Industrial | Basement | Apr 2021 | 1200 | 990 | 2822 KLD (est) | round the clock | OGT; EQ; MBBR; Tube settling; UV | Yes
P-17 | Rosewood Heights | Residential building | Basement | Apr 2021 | 700 | 580 | 6728 | round the clock | OGT; EQ; MBBR; Tube settling; UV | Y
P-18 | Konark Beverages | Industrial effluent plant | Ground level |  | 300 | 250 | 568 | single peak 7-10am | Screening, Equalization, ASP, Tube settling, Media filtration | yes

## water quality
Water quality — as reported by onboarding team
single grab samples unless noted; some plants had no lab report on site
Plant ID | Client Name | Inlet COD (mg/L) | Inlet BOD (mg/L) | Inlet Total N (mg/L) | Inlet TSS (mg/L) | Inlet pH | Outlet COD (mg/L) | Outlet BOD (mg/L) | Outlet Total N (mg/L) | Outlet TSS (mg/L) | Outlet colour | Objectionable odour at outlet? | Outlet photo ref
P-13 | Chandra Vihar Township | 681 | 225 | 54 | 357 | 8.2 | 75 | 9 | 8.7 | 23 | Yellowish | No | IMG_1355.jpg
P-14 | Prakash Dairy Products | 448 | 490 | 88 |  | 8 | 73 | 19 | 4.5 | 25 | Light brown | N | IMG_1595.jpg
P-15 | Lakeview Corporate Centre | 636 | 336 | 18 | 430 | 8.5 (pH paper) | 28 | 19 | 3.5 | 15 | Light brown | Y | IMG_2831.jpg
P-16 | Suvarna Pharma Labs | 646 | 441 | 29 | 296 | 8 | 43 |  | 8.3 | 20 | Clear/colourless | No | IMG_1166.jpg
P-17 | Rosewood Heights | 634 | 417 | 62 | 371 | 8.3 | 66 | 12 | 1.4 | 26 | Clear | N | IMG_4706.jpg
P-18 | Konark Beverages | 1330 | 523 | 22 | 396 | 8.2 | 46 | 17 | 1.4 | 22 | Yellowish | Y | IMG_3528.jpg

## water_balance
Compiled by domain team — please do not edit, ask before changing values
Plant ID | Client Name | Freshwater source | Freshwater cost (Rs/KL) | Domestic consumption (KL/day) | Laundry consumption (KL/day) | Kitchen consumption (KL/day) | Freshwater TDS (mg/L) | Freshwater pH | Freshwater hardness (mg/L as CaCO3) | Freshwater fluoride (mg/L) | Wastewater source | Treated water destination | Reuse fraction | Reuse - flushing (KL/day) | Reuse - gardening (KL/day) | Reuse - cooling tower (KL/day) | Reuse point TDS (mg/L) | Water balance displayed?
P-13 | Chandra Vihar Township | Borewell | ₹ 28/KL | 450 | 100 | 205 | 86 | 6.9 | 87 |  | Domestic sewage | On-site reuse; Sewer discharge | 0.82 | 150 | 100 | 300 | 544 | Y
P-14 | Prakash Dairy Products | Municipal + Borewell | 48 | 500 | 95 | 130 | 155 | 7.6 | 99 | 0.14 | Industrial effluent, Wash water | Sewer discharge | 0.47 | 50 | 90 | 0 | 612 | FALSE
P-15 | Lakeview Corporate Centre | Borewell | 34 | 310 | 35 | 75 | 820 | 7.8 | 92 | 0.11 | Domestic sewage; Kitchen/canteen | On-site reuse, Groundwater recharge | 45% | 180 | 20 | 0 | 673 | TRUE
P-16 | Suvarna Pharma Labs | Municipal + Borewell | 47 | 720 | 40 | 120 | 254 | 7.8 | 83 | 0.22 | Domestic sewage, Laundry | Zero liquid discharge (ZLD) | 0.22 | 130 | 60 | 300 | 615 | Yes
P-17 | Rosewood Heights | Tankers | 29 | 640 | 10 | 15 | 138 | 7.3 | 151 | 0.16 | Domestic sewage; Kitchen/canteen | Sewer discharge | 0.88 | 90 | 35 | 0 | 555 | FALSE
P-18 | Konark Beverages | Tankers | 64 | 220 | 95 | 35 | 135 | 8.2 | 181 | 0.18 | Domestic sewage; Kitchen/canteen | Surface water discharge | 0.43 | 170 KL | 40 | 200 | 694 | no

## site-characteristics
Site characteristics — collection tank
revised after second site visit, see email thread 14 Feb
'Plant Location' re-recorded here because the design sheet was filled in from drawings, not from the site
| Plant_ID | Client Name | Plant Location | Tank material of construction | Open / covered / sealed | Tank condition | Tank accessibility | Cable run to panel (m) | Sludge visible in tank?
| P-13 | Chandra Vihar Township | Ground level | RCC (lined) | Sealed/Closed | Good | Restricted | 33 | yes
| P-14 | Prakash Dairy Products | Ground level | RCC with waterproofing | Sealed/Closed | Good | Easy | 31 | yes
| P-15 | Lakeview Corporate Centre | Ground level | MS with epoxy lining | Covered | Poor | Restricted |  | yes
| P-16 | Suvarna Pharma Labs | Basement | FRP | open | Fair | Restricted | 8 | No
| P-17 | Rosewood Heights | Basement | Brick masonry with plaster | Covered | Poor | Restricted | 19 | N
| P-18 | Konark Beverages | Basement | MS with epoxy lining | Sealed/Closed | Fair | Easy | 13 | No

## process_design
Process design — collection tank sizing
collection tank only; other unit processes are in the technology workbooks
no plant code recorded on these forms
Client Name | Tank count | Tank arrangement (rows x cols) | Tank shape | Tank volume (m3) | Tank length (m) | Tank width (m) | Tank diameter (m) | Tank height (m) | Same dimensions for all tanks? | Sludge wasting (per day)
Chandra Vihar Twp. | 1 | 1 x 1 | Rectangular | 0.62 | 1 | 0.62 |  | 1 |  | 3
Prakash Dairy Products | 2 | 2 x 1 | Rectangular | 13.47 | 2.9 | 1.8 |  | 1.5mtr |  | 1
Lakeview Corporate Centre | 1 | 1 x 1 | Rectangular | 15.66 | 2.9 | 1.8 |  | 3 |  | 1
Suvarna Pharma Labs | 2 | 1 x 1 | Cylindrical | 9.42 |  |  | 2 | 3 |  | 3
Rosewood Heights | 1 | 1 x 1 | Rectangular | 13.26 | 2.6 | 1.7 |  | 3 |  | 1/2
Konark Beverages | 1 | 1 x 1 | Rectangular | 9 | 2.4 | 1.5 |  | 2.5 |  | 2